## Tabelle1
Scans at 300dpi, 16 bit, quality mode, empty but dirty slide, 3 different series differing in frame size
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure

	under:	under sturated, i.e. too short exposure time
	punder:	possibly above condition
					undersaturated
	red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
	2c89	11401	61893,34		1eb7	7863	59773,31		17ca	6090	62325,497
	2000	8192	45516,201		1200	4608	35709,156		800	2048	30621,294
	1000	4096	33309,962		600	1536	22796,689	under				under
	500	1280	16306,164	under	300	768	22701,418	under				under
	2800	10240	55692,127		1b00	6912	52548,375		1500	5376	55123,843

	red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
	2c89	11401	61893,34		1eb7	7863	59773,31		17ca	6090	62325,497
	2000	8192	45516,201		1200	4608	35709,156		1500	5376	55123,843
	2800	10240	55692,127		1b00	6912	52548,375		b82	2946	22030,162
	c00	3072	7715,076		c00	3072	12733,611		d43	3395	25811,752
	1000	4096	12173,817		1400	5120	29405,672		f04	3844	32353,407
	1400	5120	17316,128		1400	5120	29329,533		10c5	4293	33708,23
	1800	6144	23067,189		1800	6144	38961,583		1286	4742	41691,203
	1c00	7168	29359,457		1c00	7168	47557,122		1447	5191	50145,287
	2400	9216	43558,547		1d5b	7515	53072,269		1608	5640	53835,03

	800	2048	7194,603	punde	800	2048	11164,551	punde	800	2048	30621,294	under

	regression:	Color value = a * _texp + b
	a	6,8115485156				9,0541741811				13,1431546213
	b	-16007,5464430717				-13945,2088353755				-18737,7710459514

	Conclusions:
	The three colors have to be treated separately.
	There is a linear relationship between texp setting and detected illumination.
	There is a minimal exposure time which may be different for the colors, 0x0c00 plays it safe for all three.
	Dirt on the slide and missing shading correction may have shifted the curves down.