## QTempty
	Quality – Time

Scans at 300dpi, 16 bit, quality mode, empty but dirty slide, 3 different series differing in frame size						Parameters:
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure						trl trh tgl tgh tbl tbh 0x13 0x13 0x13 0x07 0x00 0x00

	under:	under sturated, i.e. too short exposure time
	punder:	possibly above condition
					undersaturated
	red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
	2c89	11401	61893,34		1eb7	7863	59773,31		17ca	6090	62325,497
	2000	8192	45516,201		1200	4608	35709,156		800	2048	30621,294
	1000	4096	33309,962		600	1536	22796,689	under				under
	500	1280	16306,164	under	300	768	22701,418	under				under
	2800	10240	55692,127		1b00	6912	52548,375		1500	5376	55123,843

	red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
	2c89	11401	61893,34		1eb7	7863	59773,31		17ca	6090	62325,497
	2000	8192	45516,201		1200	4608	35709,156		1500	5376	55123,843
	2800	10240	55692,127		1b00	6912	52548,375		b82	2946	22030,162
	c00	3072	7715,076		c00	3072	12733,611		d43	3395	25811,752
	1000	4096	12173,817		1400	5120	29405,672		f04	3844	32353,407
	1400	5120	17316,128		1400	5120	29329,533		10c5	4293	33708,23
	1800	6144	23067,189		1800	6144	38961,583		1286	4742	41691,203
	1c00	7168	29359,457		1c00	7168	47557,122		1447	5191	50145,287
	2400	9216	43558,547		1d5b	7515	53072,269		1608	5640	53835,03

	800	2048	7194,603	punde	800	2048	11164,551	punde	800	2048	30621,294	under

	regression:	Color value = a * _texp + b
	a	6,81154851564055				9,05417418105414				13,1431546213253
	b	-16007,5464430718				-13945,2088353755				-18737,7710459514
	x0	2350,05981478595	092E			1540,19666029353	0604			1425,66770199512	0591

	Conclusions:
	The three colors have to be treated separately.
	There is a linear relationship between texp setting and detected illumination.
	There is a minimal exposure time which may be different for the colors, 0x0c00 plays it safe for all three.
	Dirt on the slide and missing shading correction may have shifted the curves down.

		e79	3705	9229,24080737648
		ffff	65535
		200b	8203	53913,538	167c	5756	52154,97	1111	4369	56603,185			25	19
		02819	10265,0791200445		01C84	7300,51990535925		01664	5732,33429999428

		2c89	11401	53913,538	1f41	8001	52154,97	17ca	6090	56603,185

		2c89	11401	61650,9181837461
		e79	3705	9229,24080737648
				6,67995553160468

## QTnone
Quality – Time

					r_gain	37	25
Scans at 300dpi, 16 bit, quality mode, no slide, one series, full frame					Parameters:					g_gain	37	25
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					trl trh tgl tgh tbl tbh 0x25 0x25 0x28 0x07 0x00 0x00					b_gain	40	28

		red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
out1.tiff		c00	3072	20739,98		c00	3072	28787,387		c00	3072	39243,458
out2.tiff		1020	4128	27689,976		e80	3712	34656,951		D80	3456	44222,199
out3.tiff		1440	5184	33525,927		1100	4352	41944,312		F00	3840	46364,174
out4.tiff		1860	6240	41488,18		1380	4992	46093,049		1080	4224	52940,878
out5.tiff		1c80	7296	48281,986		1600	5632	51766,807		1200	4608	57447,59
out6.tiff		20a0	8352	54133,751		1880	6272	57489,523		1380	4992	59711,848
out7.tiff		24c0	9408	61781,746		1B00	6912	62952,771		1500	5376	65504,162	over
out8.tiff		@28e0	10464	65516,372	over	1D80	7552	65519,921	over	1680	5760	65534,956	over
out9.tiff		2d00	11520		over	2000	8192		over	1800	6144		over

		a	6,45187050189394				8,816059765625				11,0561627232143
		b	831,977496753247				2231,77250714285				5409,90973333334

	Examples:
	2c89	11401	74389,753088846		1eb7	7863	71552,4504442522		17ca	6090	72741,9407177083
	e79	3705	24736,1577062703		bc9	3017	28829,8248200335		c6c	3180	40568,5071931548
			3,00732854197437				2,48188987934923				1,79306426956677

	Suggested equation:
	I = a * t + b		where b might be set to zero

## QGnone
Quality – Gain

Scans at 300dpi, 16 bit, quality mode, no slide, one series, full frame					Parameters:
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					0x79 0x0e 0xff 0x0b 0x6c 0x0c gr gg gb 0x07 0x00 0x00

		red_gain hex	red_gain	red		green_gain hex	green_gain	green		blue_gain hex	blue_gain	blue
out10.tiff		1F	31	21565,826		1F	31	24812,646		1F	31	32215,756
out11.tiff		23	35	23644,892		23	35	27228,386		23	35	35320,814
out12.tiff		27	39	26264,123		27	39	30191,909		27	39	39165,556
out13.tiff		2B	43	29477,249		2B	43	33888,489		2B	43	43948,163
out14.tiff		2F	47	33601,986		2F	47	38625,592		2F	47	50069,661
out15.tiff		33	51	39051,67		33	51	44870,961		33	51	58161,507
out16.tiff		37	55	46548,437		37	55	53549,617		37	55	65531,166	over
out17.tiff		3B	59	57787,635		3B	59	65160,758	over	3B	59	65535	over
out18.tiff		3F	63	65535	over	3F	63	65535	over	3F	63	65535	over

		red_gain hex	red_gain	red-offs	offs	red		green_gain hex	green_gain	green -offs	offs	green		blue_gain hex	blue_gain	blue-offs	offset	blue
		1F	31	4085,59105661834	12007,2349433817	21565,826		1F	31	5394,2005963906	13866,4454036094	24812,646		1F	31	13558,0248716276	11203,7311283724	32215,756
		23	35	6164,65705661834	5473	23644,892		23	35	7809,9405963906	5552	27228,386		23	35	16663,0828716276	7454	35320,814
		27	39	8783,88805661834		26264,123		27	39	10773,4635963906		30191,909		27	39	20507,8248716276		39165,556
		2B	43	11997,0140566183		29477,249		2B	43	14470,0435963906		33888,489		2B	43	25290,4318716276		43948,163
		2F	47	16121,7510566183		33601,986		2F	47	19207,1465963906		38625,592		2F	47	31411,9298716276		50069,661
		33	51	21571,4350566183		39051,67		33	51	25452,5155963906		44870,961		33	51	39503,7758716276		58161,507
		37	55	29068,2020566183		46548,437		37	55	34131,1715963906		53549,617
		3B	59	40307,4000566183		57787,635

		31	8,31522168633024					31	8,59307969180882					31	9,51473389245063
		35	8,72658778657646					35	8,96315263670885					35	9,72095094491806
		39	9,08067441965835					39	9,28484131514295					39	9,92856179335219
		43	9,39241306919202					43	9,57983583250217					43	10,1381814162927
		47	9,68792463650229					47	9,86303770732174					47	10,3549430319578
		51	9,97912526737964					51	10,1445698617458					51	10,5841515380074
		55	10,2774001428827					55	10,4379663687769
		59	10,6042903553116

		ln(a)	0,0796678767109369					ln(a)	0,075675811367471					ln(a)	0,0532763150845975
		ln(b)	5,922900218487					ln(b)	6,29829488462834					ln(b)	7,85592485102797
		a	1,0829273425509					a	1,07861284344824					a	1,05472104019252
		b	373,493356956005					b	543,644143390444					b	2580,98103309914
		o	17480,2349433817					o	19418,4454036094					o	18657,7311283724

		25	37	7119,63441437187	24599,8693577535			25	37	28358,5261952659				28	40	40399,2158849067
		3f	63	56498,900189699	73979,1351330806			3c	60	70380,8546674611				39	57	72438,6927786111
				7,93564625673039	3,00729788671676					2,48182342703022					1,79307175131769

		Suggested equation:
		I = a *exp(c * g) + o1		where c might be set equal in all 3 channels, same for o1

		Apply OOOs evolutionary Solver for R G B separately

		texp	3705	e79				texp	3071	bff				texp	3180	c6c

		a	493,298300573067	a/texp	0,133143940775457			a	908,054517841065	a/texp	0,295686915610897			a	1730,17590617924	a/texp	0,54408047364127
		c	1,07762468047072					c	1,06900851774961					c	1,06186280818988
		o1	16895,9300766883	o1/texp	4,56030501395096			o1	17782,4444194678	o1/texp	5,79044103532003			o1	21119,1588980324	o1/texp	6,64124493648818

		vv	618289,747999112					vv	122848,344020646					vv	30975,3901521919

		red_gain	red	calc	diff²			green_gain	green	calc	diff²			blue_gain	blue	calc	diff²
		31	21565,826	21903,223350196	113836,971919282			31	24812,646	24969,1202939567	24484,2046692524			31	32215,756	32241,877912018	682,354287477053
		35	23644,892	23648,5630603098	13,4766837980015			35	27228,386	27167,8429943935	3665,45552786623			35	35320,814	35260,3048787635	3661,35375281264
		39	26264,123	26002,2575316309	68573,5235241634			39	30191,909	30039,2524275905	23304,0290998274			39	39165,556	39097,8572178321	4583,12510701572
		43	29477,249	29176,3546040951	90537,4374869502			43	33888,489	33789,153282034	9867,58486381522			43	43948,163	43976,8250104402	821,510842472204
		47	33601,986	33456,8134096813	21075,0809798442			47	38625,592	38686,3150227408	3687,28549077706			47	50069,661	50179,822290494	12135,5099233061
		51	39051,67	39229,2668564485	31540,6434204024			51	44870,961	45081,7356073206	44425,9350911654			51	58161,507	58066,1574523393	9091,53623910816
		55	46548,437	47013,7638714904	216529,097331047			55	53549,617	53433,7988266508	13413,8492779424
		59	57787,635	57511,6213832098	76183,5166536245

		Evolutionary Solver taking all R G B data with c and o1 common to all channels, approximate gain only for range 1f – 2b
					calc	diff²
		red	31	21565,826	21466,329380483	9899,5772953103		t_red	3705
			35	23644,892	23802,4761644291	24832,7688788197		t_green	3071
			39	26264,123	26403,0074634598	19288,8941905122		t_blue	3180
			43	29477,249	29297,8439881643	32186,158271768
		green	31	24812,646	24646,3479736999	27655,0335512982		a_r/t	2,42728542640282
			35	27228,386	27358,3336302184	16886,3865993887		a_g/t	3,3995114302771
			39	30191,909	30377,2379348468	34346,8140914544		a_b/t	4,27941174769558
			43	33888,489	33737,7952366887	22708,6103009257		c	1,02716565499511
		blue	31	32215,756	31943,8012254528	73959,399399007		o1	0,222331154141761
			35	35320,814	35478,9057599735	24993,0045715108
			39	39165,556	39414,082286783	61765,3152221327		vv	372101,275468902
			43	43948,163	43794,607429939	23579,3130967738

		Same as above, set o1 = 0
					calc	diff²		No advantage whith these offsets when applied +/- to gain
		red	31	21565,826	21422,5669166735	20523,1649555518		offs_r	14	e	unused
			35	23644,892	23787,8499481528	20436,9749400695		offs_g	7	7	unused
			39	26264,123	26414,2858022965	22548,8671935327		offs_b	12	c	unused
			43	29477,249	29330,7085745923	21474,0962786687
		green	31	24812,646	24640,217817205	29731,4782219796		a_r/t	2,56793932664155
			35	27228,386	27360,7643008119	17524,0145258572		a_g/t	3,56341323543235
			39	30191,909	30381,6885336893	36016,271407339		a_b/t	4,46434706133172
			43	33888,489	33736,1554673646	23205,5051651957		c	1,0265282852938	0,026182512181289			4,68688516876064	23787,8499481528	0,026182512181289
		blue	31	32215,756	31965,6549364546	62550,5419865622		o1	0		const
			35	35320,814	35495,0088885467	30343,8591957969
			39	39165,556	39414,041680128	61745,1332286767		vv	379364,170262498
			43	43948,163	43765,7780687056	33264,2631632684
					test calculation for “normal mode”

		Evolutionary Solver taking all R G B data with o1=0 and range 2b -max					39	-16046,7459539955	-9674,69164188148	6903,85495549384
					41	-11848,5786582012	-4935,98376741377	13048,9188860097
					calc	diff²					43	-7294,28135028161	204,708109569314	19715,2678292209
		red	43	29477,249	29120,8593248592	127013,60054697		t_red	3705		45	-2353,64356538372	5781,4842422505	26947,1223282388
			47	33601,986	34271,05395567	447651,929304411		t_green	3071		47	3006,10791133996	11831,3376040697	34792,4541493739
			51	39051,67	40332,090689021	1639477,14087291		t_blue	3180		51	15128,1813780419	25514,2046611025	52536,1292282393
			55	46548,437	47465,0572886243	840192,753517783		a_r/t	1,36502553298245		53	21970,9139011169	33237,9822538763	62552,1733377345
			59	57787,635	55859,5308332398	3717585,67787798		a_g/t	1,85887148954499		55	29394,1145772487	41616,9669439288	73417,8772294246
		green	43	33888,489	32870,3540547847	1036598,76666865		a_b/t	2,32792257374236		57	37447,0244480207	50706,739868232	85205,3174374769
			47	38625,592	38683,6688020348	3372,91493459321		c	0,0407115893019455		59	46183,0616664796	60567,597104728	97992,6847395318
			51	44870,961	45525,1023305513	427900,880335375					61	55660,1758409841	71264,9496401889	111864,80282722
			55	53549,617	53576,4834719644	721,807315814687		vv	10763392,4159722		63	65941,2324379977	82869,7572672986	126913,690975434
		blue	43	43948,163	42625,6339146105	1749083,1817013
			47	50069,661	50164,2270746869	8942,74248169588
			51	58161,507	59036,0646141197	764851,020414694

		I = aj *exp(c0 * g + c1 * g^2) * t					I = 2 * aj *exp(c0 * g + c1 * g^2) * t – 65536

				Illum (I)	calc	diff²					gain	red	green	blue
		red	31	21565,826	21365,6740327491	40060,8099943887		t_red	3705		39	-12611,5808474273	-5500,02684076401	12179,8898851453
			35	23644,892	23632,8878556432	144,099481739259		t_green	3071		41	-9275,74794062352	-1715,9517755428	17078,3323623889
			39	26264,123	26462,2095762867	39238,2917049678		t_blue	3180		43	-5546,59899865391	2514,28994220683	22554,332537354
			43	29477,249	29994,7005006734	267756,05554915					45	-1374,4782046316	7247,02647512802	28680,806581047
			47	33601,986	34416,9253348966	664126,119561755		ar	3,99474476753707		47	3297,85066979237	12547,1849915093	35541,8019802618
			51	39051,67	39976,8641300983	855984,178368447		ag	5,46704799910134		51	14417,7282601956	25161,2615036553	51870,5817040551
			55	46548,437	47006,1295604047	209482,479849829		ab	6,83445444133586		53	21030,1225307085	32662,1756619829	61580,4304512448
			59	57787,635	55951,1963488757	3372506,9193431		c0	2,74919234E-16		55	28476,259120808	41108,8636676554	72514,5727729144
		green	31	24812,646	24236,6199440237	331806,017163638		c1	3,82021508E-04		57	36875,397253726	50636,6098306299	84848,1326819276
			35	27228,386	26808,4835638231	176318,055907324					59	46366,3926977497	61402,9282306333	98785,0103773023
			39	30191,909	30017,9865796183	30249,008311421		vv	8166784,62972693		61	57111,2267613036	73591,5659099683	114563,064332132
			43	33888,489	34025,1449711038	18674,8544383263					63	69299,2271596051	87417,2909059812	132460,309347592
			47	38625,592	39041,5924957551	173056,412468525
			51	44870,961	45348,6307518283	228168,391811678
			55	53549,617	53322,4318338285	51613,0997283675
		blue	31	32215,756	31374,0310623763	708500,870617593
			35	35320,814	34703,2795005719	381348,857983874
			39	39165,556	38857,9449425731	94624,5626513071		This seems best suited for calibration, c0 = 0, c1 has to be given, aj can be derived from the test lines
			43	43948,163	44045,1662686775	9409,63413412231
			47	50069,661	50538,9009901315	220186,168338645
			51	58161,507	58703,2908520284	293529,74231873

## QGTnone
Quality – Gain – Time

Suggested equation:
I = a *exp(c * g) * t		where g is restricted to the range 1f – 2b (31 – 43)					data from tables QGnone and QTnone

	gain	texp	I	calc	diff²
red	31	3705	21565,826	20973,4740406599	350880,843734025
	35	3705	23644,892	23239,088515728	164676,467847261
	39	3705	26264,123	25749,4411271529	264897,430237354
	43	3705	29477,249	28530,9691863336	895445,485752583		a_r	2,55640466565596
	37	3072	20739,98	20282,7317927348	209075,923047264		a_g	3,58646907419772
	37	4128	27689,976	27254,9208464874	189272,986597913		a_b	4,4650512717089
	37	5184	33525,927	34227,1099002399	491657,459588872		c	0,0256443030883478
	37	6240	41488,18	41199,2989539925	83452,2587423811					seems constant between channels
	37	7296	48281,986	48171,4880077451	12209,8062923662					21522,3708801575
	37	8352	54133,751	55143,6770614977	1019950,64969219		vv	22323470,1896651					20823,039444792
	37	9408	61781,746	62115,8661152502	111636,251414834					20137,3812354071
green	31	3071	24812,646	24389,3073016553	179215,653516196
	35	3071	27228,386	27023,9098263678	41810,50558327
	39	3071	30191,909	29943,1096287877	61901,1271156118			From USB snoop				calculated
	43	3071	33888,489	33177,6497184275	505292,484226511			d7 PIE_READ_CALIBRATION
	37	3072	28787,387	28455,3503176402	110248,358432516			r_texp	8419	20E3		red	54178,6983281232
	37	3712	34656,951	34383,5483004819	74749,036103795			g_texp	5806	16ae		green	52418,2572001908
	37	4352	41944,312	40311,7462833236	2665270,81926717			b_texp	4510	119e		blue	54746,0747054177
	37	4992	46093,049	46239,9442661653	21578,2192217707			target_ill	57720	e178		mean	53781,0100779106
	37	5632	51766,807	52168,142249007	161069,982095501			r_gain	36	24		factor	1,07324127822038
	37	6272	57489,523	58096,3402318487	368227,152868516			g_gain	36	24
	37	6912	62952,771	64024,5382146904	1148684,96248522			b_gain	39	27
blue	31	3180	32215,756	31441,7079381776	599150,402011007
	35	3180	35320,814	34838,130890689	232982,984014129			dc PIE_WRITE_CALIBRATION				calculated for no slide
	39	3180	39165,556	38601,4451359708	318221,066915796			r_texp	11401	2c89
	43	3180	43948,163	42771,2833177168	1385045,78657096			g_texp	7863	1eb7		red	75274,5524638572
	40	3072	39243,458	38259,1074847755	968945,936822835			b_texp	6090	17ca		green	72833,4699048192
	40	3456	44222,199	43041,4959203724	1394059,76224215			r_gain	37	25		blue	75845,6915957951
	40	3840	46364,174	47823,8843559693	2130754,32332404			g_gain	37	25		mean	74651,2379881572
	40	4224	52940,878	52606,2727915662	111960,645510998			b_gain	40	28
	40	4608	57447,59	57388,6612271632	3472,6002680546
	40	4992	59711,848	62171,0496627601	6047672,81812206			pfset_a3_3k3_on
					dc PIE_WRITE_CALIBRATION				calculated for no slide
					r_texp	5742	166e
					g_texp	4082	ff2		red	34215,2491918524
					b_texp	4082	ff2		green	34124,5559175062
					r_gain	33	21		blue	34604,2095820536
					g_gain	33	21		mean	34314,6715638041
					b_gain	25	19

I = aj *exp(c * g^2) * t			full range of g				data from tables QGnone and QTnone

	gain	t_exp	I	calc	diff²
red	31	3705	21565,826	20655,5957734841	828519,065263176		ar	3,81951694661613
	35	3705	23644,892	22916,9607836397	529883,855751769		ag	5,36414400663744
	39	3705	26264,123	25748,1080372075	266271,441825702		ab	6,62673036226
	43	3705	29477,249	29295,6156665413	32990,6678233245		c	3,93526582E-04
	47	3705	33601,986	33754,2872279232	23195,6640269097
	51	3705	39051,67	39384,4023385323	110710,809105171
	55	3705	46548,437	46535,9498414108	155,929129631006		vv	39645520,4229749
	59	3705	57787,635	55682,9084605682	4429873,8057886
	37	3072	20739,98	20109,4663376734	397547,478380507		vv-above	33022884,6069514
	37	4128	27689,976	27022,0953912486	446064,507546105
	37	5184	33525,927	33934,7244448239	167115,350894511			From USB snoop				calculated
	37	6240	41488,18	40847,3534983991	410658,605154061			d7 PIE_READ_CALIBRATION
	37	7296	48281,986	47759,9825519743	272487,599750699			r_texp	8419	20E3		red	53550,5178307062
	37	8352	54133,751	54672,6116055496	290370,752213233			g_texp	5806	16ae		green	51864,7374770591
	37	9408	61781,746	61585,2406591248	38614,3489924868			b_texp	4510	119e		blue	54378,1603207774
	37	10464	65516,372	68497,8697127	8889328,61083534			target_ill	57720	e178		mean	53264,4718761809
green	31	3071	24812,646	24044,8082063715	589574,877324227			r_gain	36	24		factor	1,08364915612374
	35	3071	27228,386	26677,2226160102	303781,075851094			g_gain	36	24
	39	3071	30191,909	29972,9103058043	47960,428059439			b_gain	39	27
	43	3071	33888,489	34102,5002480837	45800,8143063421
	47	3071	38625,592	39292,7597653742	445112,827154385			dc PIE_WRITE_CALIBRATION				calculated for no slide
	51	3071	44870,961	45846,6756871881	952019,15079461			r_texp	11401	2c89
	55	3071	53549,617	54171,6637422998	386942,149605754			g_texp	7863	1eb7		red	74631,5187877
	37	3072	28787,387	28241,8103753865	297653,853324619			b_texp	6090	17ca		green	72286,8994080939
	37	3712	34656,951	34125,5208702587	282417,982796828			r_gain	37	25		blue	75747,2497432561
	37	4352	41944,312	40009,2313651309	3744537,0634453			g_gain	37	25		mean	74221,8893130167
	37	4992	46093,049	45892,9418600031	40042,8674777304			b_gain	40	28
	37	5632	51766,807	51776,6523548753	96,9310126207819
	37	6272	57489,523	57660,3628497475	29186,2542617506			pfset_a3_3k3_on
	37	6912	62952,771	63544,0733446197	349638,462752759			dc PIE_WRITE_CALIBRATION				calculated for no slide
blue	31	3180	32215,756	30758,6657074968	2123112,12050696			r_texp	5742	166e
	35	3180	35320,814	34126,1101110757	1427317,38221084			g_texp	4082	ff2		red	33665,7833214708
	39	3180	39165,556	38342,0287849384	678197,073947139			b_texp	4082	ff2		green	33611,7034612044
	43	3180	43948,163	43624,694192515	104632,069415739			r_gain	33	21		blue	34593,046801528
	47	3180	50069,661	50264,192252025	37842,4080143974			g_gain	33	21		mean	33956,8445280678
	51	3180	58161,507	58648,1106091153	236783,072404078			b_gain	25	19
	40	3072	39243,458	38209,4501167952	1069172,30252965
	40	3456	44222,199	42985,6313813946	1529099,4753834
	40	3840	46364,174	47761,812645994	1953393,78477597			Conclusion:
	40	4224	52940,878	52537,9939105934	162315,589496975			Scanners are different, see pfset_a3_3k3_on
	40	4608	57447,59	57314,1751751928	17799,5154783324			Slight deterioration as compared to first calculation in this table,
	40	4992	59711,848	62090,3564397922	5657302,39816278			but preferable as whole gain range can be used and “normal mode” may be extrapolated

## NTnone
Normal – Time

					r_gain	51	33
Scans at 300dpi, 16 bit, normal mode, no slide, one series, full frame					Parameters:					g_gain	45	2d
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					trl trh tgl tgh tbl tbh 0x33 0x2d 0x24 0x07 0x00 0x00					b_gain	36	24

		red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
out1.tiff		c00	3072	379,779	under	c00	3072	6858,232		c00	3072	4644,872	under
out2.tiff		d00	3328	4596,393		d00	3328	12754,109		d00	3328	10155,086
out3.tiff		e00	3584	9835,315		e00	3584	18493,521		e00	3584	15646,278
out4.tiff		1A40	6720		over	1A40	6720		over	1A40	6720		over

	solver: common offset					calculate separately
		texp	illum	calc	diff²
	red	3328	4596,393	4625,11181492722	824,770330824053	a_r	20,2484272465827		a_r	20,4645390625
		3584	9835,315	9808,7091900524	707,869122968074	a_g	22,6755651670915		o_r	-63509,593	F815	49103
	green	3072	6858,232	6897,68213160509	1556,31288365907	a_b	21,8924451879017		a_g	22,725173828125
		3328	12754,109	12702,6268143805	2650,41543616003	off	-62761,6540617		o_g	-62927,4245	F5CF
		3584	18493,521	18507,5714971559	197,416470328934				a_b	21,44996875
	blue	3328	10155,086	10096,4035236369	3443,63303211148	vv	12360,6482464166		o_b	-61230,41	EF2E
		3584	15646,278	15700,8694917397	2980,23097036498
	solver: offset fixed
		texp	illum	calc	diff²
	red	3328	4596,393	4518,66779874534	6041,20691007678	a_r	21,050080468373
		3584	9835,315	9907,48839864883	5208,99947252251	a_g	23,5059207517243
	green	3072	6858,232	6674,18854929705	33871,9917466503	a_b	22,6940925870914
		3328	12754,109	12691,7042617385	3894,35135748983	off	-65536
		3584	18493,521	18709,2199741799	46526,0474622599
	blue	3328	10155,086	9989,94012984018	27273,1584308442	vv	146331,926395854
		3584	15646,278	15799,6278321356	23516,17101601

## NGnone
	Normal – Gain

	Scans at 300dpi, 16 bit, quality mode, no slide, one series, full frame					Parameters:
	Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					0x79 0x0e 0xff 0x0b 0x6c 0x0c gr gg gb 0x07 0x00 0x00

			red_gain hex	red_gain	red	red min	red max	red (min+max)/mean/2			green_gain hex	green_gain	green	green min	green max	green (min+max)/mean/2			blue_gain hex	blue_gain	blue	blue min	blue max	blue (min+max)/mean/2
	out1.tiff		13	19	0	0	0		under		13	19	0	0	0		under		13	19	0	0	0		under
	out2.tiff		17	23	0	0	0		under		17	23	0	0	0		under		17	23	0	0	0		under
	out3.tiff		1B	27	0	0	0		under		1B	27	0	0	0		under		1B	27	0	0	0		under
	out4.tiff		1F	31	0	0	0		under		1F	31	0	0	0		under		1F	31	141,745	0	4359		under
	out5.tiff		23	35	0	0	0		under		23	35	0	0	0		under		23	35	5059,361	0	10723	1,05971880638681	under
	out6.tiff		27	39	0	0	0		under		27	39	23,708	0	3145		under		27	39	12757,707	5643	19159	0,972039881461457
	out7.tiff		2B	43	0	0	0		under		2B	43	5253,213	0	11711	1,11465116681924	under		2B	43	22330,57	14257	29243	0,974001111480809
	out8.tiff		2F	47	2147,064	0	7743		under		2F	47	15143,117	8191	22873	1,02568051214291			2F	47	34572,38	24969	42851	0,980840775208418
	out9.tiff		33	51	12992,685	5877	19895	0,991788841182558			33	51	28194,988	20105	37077	1,01404547503265			33	51	50760,612	40227	59653	0,983833685850754
	out10.tiff		37	55	28209,103	19005	36579	0,985213886453603			37	55	46322,565	36323	56475	1,0016500597495			37	55	65525,287	60581	65534		over
	out11.tiff		3B	59	50703,065	40189	61803	1,00577746138227			3B	59	65519,113	60293	65534		over		3B	59	65534	65534	65534		over
	out12.tiff		3F	63	65534	65534	65534		over		3F	63	65534	65534	65534		over		3F	63	65534	65534	65534		over

			offset	18822		-18822,9078360892					offset	18418		-18418,9798985676					offset	15643		-15643,5524015323
			red_gain	red+offs	red					green_gain	green+offs	green					blue_gain	blue+offs	blue
			51	31814,685	12992,685					43	23671,213	5253,213					35	20702,361	5059,361
			55	47031,103	28209,103					47	33561,117	15143,117					39	28400,707	12757,707			54,6508960336126
			59	69525,065	50703,065					51	46612,988	28194,988					43	37973,57	22330,57			0,0723206615796261
						55	64740,565	46322,565					47	50215,38	34572,38
						51	66403,612	50760,612
						1,02597563612524

	Suggested equation:
	I = aj *exp(cj * g)t + o2

						texp_r	3705	e79
						texp_g	3071	bff
	Solver					texp_b	3180	c6c

		gain	texp	illumn	calc	diff²
	red	51	3705	12992,685	12282,691047638	504091,412390613	ar	1,67028205686522
		55	3705	28209,103	29375,6837248182	1360910,58751742	ag	3,76439856263417
		59	3705	50703,065	50223,1779841863	230291,547946592	ab	6,61757280922344
	green	47	3071	15143,117	14654,8877760291	238367,775139263	cr	0,0496412917630709
		51	3071	28194,988	29025,0360783908	688979,812440203	cg	0,0412089051922304
		55	3071	46322,565	45970,30442193	124087,514862208	cb	0,0333954798092694
	blue	39	3180	12757,707	11867,6213477132	792252,468406902	o2	-65536
		43	3180	22330,57	22929,7513020621	359018,232740865
		47	3180	34572,38	35572,824331118	1000888,85966617	vv	5843283,18090285
		51	3180	50760,612	50022,7807389432	544394,969792607

	I = aj *exp(c * g) * (t – to)

		gain	texp	illumn	calc	diff²
	red	51	3705	12992,685	14517,4172469932	2324808,42502097	ar	0,00748761286775503
		55	3705	28209,103	27191,876034119	1034750,70011538	ag	2,08561694009563
		59	3705	50703,065	50931,7952136451	52317,5106341247	ab	1,75481955647997
	green	47	3071	15143,117	16079,2098650693	876269,852033645	cr	0,156892283862482
		51	3071	28194,988	27285,1060807939	827885,1068981	cg	0,132203465927782
		55	3071	46322,565	46300,5968631264	482,599037696828	cb	0,107066729429789
	blue	39	3180	12757,707	14210,7514293278	2111338,11360048	to	3055,56473542318
		43	3180	22330,57	21807,7571429829	273333,283462416
		47	3180	34572,38	33466,0889659806	1223879,85195162	vv	9080641,6576226
		51	3180	50760,612	51356,9141171086	355576,214868173

	red_gain	texp_r	red		green_gain	texp_g	green		blue_gain	texp_b	blue
out21.tiff	53	3328	6505,608		46	3072	12783,827		37	3840	25697,027
out22.tiff	55	3328	13478,631		48	3072	18383,692		41	3840	36167,194
out23.tiff	57	3328	21939,438		51	3072	28665,73		45	3840	49407,949
out24.tiff	59	3328	38032,787		54	3072	36532,488		49	3072	38706,868
out25.tiff	61	3328	52024,981		56	3072	46791,579		51	3072	47130,587
out26.tiff	63	3104	61433,336	over	58	3072	59397,015	over	53	3072	56957,652	over

	Solver
	I = aj *exp(cj * g) * t + o2

		gain	texp	Illum	calc	diff²
	red	53	3328	6505,608	4457,62561981678	4194231,82954092	ar	0,705950168705256
		55	3328	13478,631	14022,1998463053	295467,09067371	ag	5,03969816103094
		57	3328	21939,438	24893,7656641555	8728051,94719446	ab	7,44669493203102
		59	3328	38032,787	37250,9224526431	611312,170413572	cr	0,0640423260173646
		61	3328	52024,981	51296,6750566101	530429,547176994	cg	0,0352344110275796
	green	46	3072	12783,827	12756,9776789694	720,886039804151	cb	0,0310713358195597
		48	3072	18383,692	18473,2352468439	8017,9930553462	o2	-65536
		51	3072	28665,73	27839,5906776027	682506,180011147
		54	3072	36532,488	38250,2195599353	2950601,71199777
		56	3072	46791,579	45827,7671330163	928933,314938518	vv	22327741,7098937
	blue	37	3840	25697,027	24740,9432293338	914096,176531345
		41	3840	36167,194	36688,0973187539	271340,2674888
		45	3840	49407,949	50216,3249993982	653471,756403019
		49	3072	38706,868	39320,6910871276	376778,782290896
		51	3072	47130,587	46043,4890025143	1181782,0561374

I = 2 * aj *exp(c1 * g^2) * t – 65536					for both series

		gain	t_exp	I	calc	diff²
	red	51	3705	12992,685	14085,3045644574	1193817,51263508
		55	3705	28209,103	28470,6485444245	68406,0718082881		a_r	3,87916963433153
		59	3705	50703,065	46855,0089288901	14807535,5264059		a_g	5,47129021653674
		53	3328	6505,608	12054,5034508531	30790240,724498		a_b	6,709008198056
		55	3328	13478,631	18905,0597451672	29446128,9263773		c	3,91707091E-04
		57	3328	21939,438	26648,8833001807	22178875,0353946
		59	3328	38032,787	35418,7308273539	6833289,67374919
		61	3328	52024,981	45369,8794364137	44290376,8216488		vv	201214457,391535
	green	47	3071	15143,117	14297,7100021523	714712,992009849
		51	3071	28194,988	27547,321866104	419471,420995811
		55	3071	46322,565	44364,8760517162	3832546,01823254
		46	3072	12783,827	11466,8674455061	1734382,46817266
		48	3072	18383,692	17351,4442292882	1065535,46013948
		51	3072	28665,73	27577,6322932828	1183956,61936328
		54	3072	36532,488	39805,5927073694	10713214,4254041		fit is not so good, but the two test series seem to be somewhat different
		56	3072	46791,579	49286,0907689158	6222588,96525961		coefficients come out similar as in “quality mode”
	blue	39	3180	12757,707	11885,6140963972	760546,032514339
		43	3180	22330,57	22500,0085980145	28709,4384971125
		47	3180	34572,38	35832,3053929113	1587411,99570261
		51	3180	50760,612	52655,9091278045	3592151,20266407
		37	3840	25697,027	22550,3589928111	9901519,54746641
		41	3840	36167,194	34001,0859556981	4692024,05958941
		45	3840	49407,949	48359,0644545535	1100158,78967657
		49	3072	38706,868	40038,3930911109	1772959,0682579
		51	3072	47130,587	48641,8442895017	2283898,59507209

## NGTnone
Normal – Gain – Time

I = 2 * aj *exp(c0 * g + c1 * g^2) * t – 65536					data from tables NTnone and NGnone

	gain	t_exp	I	calc	diff²
red	51	3328	4596,393	5584,1861771222	975735,360769176
	51	3584	9835,315	11054,9697292085	1487557,6584807		a_r	3,80646716073387
	51	3705	12992,685	13640,7697674993	420013,865864655		a_g	5,36757452002057
	55	3705	28209,103	28149,0140088729	3610,68685467321		a_b	6,65303965559392
	59	3705	50703,065	46732,3569186151	15766522,6675756		c	3,96828528E-04
	53	3328	6505,608	11703,5431437631	27018529,7587679
	55	3328	13478,631	18616,1529342858	26394131,625268
	57	3328	21939,438	26438,9350691075	20245473,8749066		vv	219676965,998787
	59	3328	38032,787	35308,5591970718	7421417,1222471
	61	3328	52024,981	45385,1024858296	44087986,6829411
green	45	3072	6858,232	8121,78934424714	1596577,16220088
	45	3328	12754,109	14259,9384562677	2267522,35136357
	45	3584	18493,521	20398,0875682883	3627373,81304154
	47	3071	15143,117	13675,4432801629	2154066,14790051
	51	3071	28194,988	27007,3845899262	1410401,85961887
	55	3071	46322,565	43964,9092590514	5558540,59282774
	46	3072	12783,827	10830,2843906491	3816328,72654956
	48	3072	18383,692	16745,3982313256	2684006,47247737
	51	3072	28665,73	27037,5191990405	2651070,41236122
	54	3072	36532,488	39363,6435344744	8015441,66038518
	56	3072	46791,579	48933,2689332468	4586835,77017063
blue	36	3328	10155,086	8524,49927039343	2658813,08276906
	36	3584	15646,278	14221,4607527314	2030104,18811409
	39	3180	12757,707	11840,1357561338	841936,987570205
	43	3180	22330,57	22596,2182167005	70568,975036145
	47	3180	34572,38	36130,3564517979	2427290,62435681
	51	3180	50760,612	53241,6454431991	6155526,94627224
	37	3840	25697,027	22430,1114426485	10672737,258865
	41	3840	36167,194	34024,1658921748	4592569,47092899
	45	3840	49407,949	48586,3544318816	675017,634361616
	49	3072	38706,868	40452,9806396589	3048909,35037655
	51	3072	47130,587	49207,6876734301	4314347,20756355

I = n * aj *exp(c0 * g + c1 * g^2) * t – (n -1) * 65536					with c from quality mode n=2,047, not really an improvement

I = nj * aj *exp(c0 * g + c1 * g^2) * t – (nj -1) * 65536

	gain	t_exp	I	calc	diff²
red	51	3328	4596,393	1362,22427434083	10459847,3460319
	51	3584	9835,315	7998,07658015515	3375445,01135402		a_r	4,05738446611817
	51	3705	12992,685	11134,5536465752	3452652,1265803		a_g	5,38360120891521
	55	3705	28209,103	28573,5194970731	132799,383338994		a_b	6,5765676780874
	59	3705	50703,065	50878,2722745056	30697,5890396626		c	3,93526582E-04	fixed
	53	3328	6505,608	8720,44775502197	4905515,1404258		nr	2,29553002473824
	55	3328	13478,631	17026,6988628582	12588785,5594472		ng	1,97440596551932
	57	3328	21939,438	26419,7913700762	20073566,3207536		nb	1,89429613037997
	59	3328	38032,787	37061,8452173239	942727,945346254
	61	3328	52024,981	49142,5759610268	8308258,8086981		vv	121161922,038657
green	45	3072	6858,232	8587,60472005577	2990730,00487308
	45	3328	12754,109	14624,7942264166	3499463,21633329
	45	3584	18493,521	20661,9837327774	4702230,62344456
	47	3071	15143,117	14002,5931542763	1300794,64266441
	51	3071	28194,988	26989,6210889777	1452909,39018748
	55	3071	46322,565	43486,1483160482	8045259,60500046
	46	3072	12783,827	11228,9852274295	2417532,93773023
	48	3072	18383,692	16994,8533777084	1928872,71876876		we may consider this if a different type of scanner needs it
	51	3072	28665,73	27019,2037299563	2711048,75794408
	54	3072	36532,488	39012,5002149396	6150460,58624972
	56	3072	46791,579	48315,5589571256	2322514,90972064
blue	36	3328	10155,086	10435,2917600877	78515,2679863327
	36	3584	15646,278	15746,3596801392	10016,3426994876
	39	3180	12757,707	13472,765996772	511309,368864593
	43	3180	22330,57	23403,9486894805	1152141,81103097
	47	3180	34572,38	35885,9181386086	1725382,44157931
	51	3180	50760,612	51647,3223708823	786255,281830261
	37	3840	25697,027	23379,2182936818	5372237,19908458
	41	3840	36167,194	34089,7766004518	4315663,05194566
	45	3840	49407,949	47527,697350251	3535346,26638403
	49	3072	38706,868	39841,1772190156	1286657,40434375
	51	3072	47130,587	47902,7819099647	596284,97897535

## QNTGnone
	Quality -Normal – Gain – Time

	I = aj *exp(c * g^2) * t			quality
	I = 2 * aj *exp(c * g^2) * t – 65536			normal		data from tables QGTnone and NGTnone

		gain	t_exp	I	calc	diff²
quality	red	31	3705	21565,826	20597,8634661798	936951,466879704
		35	3705	23644,892	22878,9199878067	586713,123463457		a_r	3,79310162054468
		39	3705	26264,123	25738,1752791806	276621,005035133		a_g	5,34718173737236
		43	3705	29477,249	29325,7331922982	22957,0399835361		a_b	6,62639237212495
		47	3705	33601,986	33841,4446385676	57340,4395846665		c	3,97835632E-04
		51	3705	39051,67	39552,8515659008	251182,961998755
		55	3705	46548,437	46820,4512465091	73991,7503038923
		59	3705	57787,635	56133,5205401144	2736094,64640274		vv	262541942,500576
		37	3072	20739,98	20088,546959039	424365,006855678
		37	4128	27689,976	26993,9849762087	484403,505198096
		37	5184	33525,927	33899,4229933783	139499,257069667		dc PIE_WRITE_CALIBRATION
		37	6240	41488,18	40804,861010548	466924,841345708			quality		normal
		37	7296	48281,986	47710,2990277177	326825,994277348		r_texp	11401	2c89	3705	e79
		37	8352	54133,751	54615,7370448873	232310,547466124		g_texp	7863	1eb7	3106	c22		helpers
		37	9408	61781,746	61521,175062057	67897,2137005047		b_texp	6090	17ca	3180	c6c		nr	2
		37	10464	65516,372	68426,6130792266	8469503,13921819		r_gain	37	25	63	3f		ng	2
	green	31	3071	24812,646	24068,2351608213	554147,497486684		g_gain	37	25	60	3c		nb	2
		35	3071	27228,386	26733,6089199875	244804,358905728		b_gain	40	28	57	39
		39	3071	30191,909	30074,5976031391	13761,9638334495
		43	3071	33888,489	34266,5948774076	142964,054530161		calculated for no slide
		47	3071	38625,592	39543,1229593458	841863,061357958			quality	normal
		51	3071	44870,961	46216,7998313137	1811282,15987193		red	74553,8814713554	70786,5974844075
		55	3071	53549,617	54708,8601100312	1343844,58815476		green	72484,6516056525	73573,4210204574
		37	3072	28787,387	28319,0702953789	219320,535827151		blue	76267,4019932425	87957,2919372398
		37	3712	34656,951	34218,8766069162	191909,173875752		mean	74435,3116900835	77439,1034807016
		37	4352	41944,312	40118,6829184535	3332921,54338846
		37	4992	46093,049	46018,4892299907	5559,15930383407
		37	5632	51766,807	51918,295541528	22948,7782142829
		37	6272	57489,523	57818,1018530653	107964,062681694
		37	6912	62952,771	63717,9081646026	585434,880656031		pfset_a3_3k3_on / pfset_a3_3k3_off
	blue	31	3180	32215,756	30884,726029542	1771640,78225752		dc PIE_WRITE_CALIBRATION
		35	3180	35320,814	34304,9742433444	1031930,41120208			quality		normal
		39	3180	39165,556	38592,181820363	328757,949874363		r_texp	5742	166e	3042	0BE2
		43	3180	43948,163	43971,4165863221	540,729276838599		g_texp	4082	ff2	3023	0BCF
		47	3180	50069,661	50742,3378071319	452494,086853111		b_texp	4082	ff2	2952	0B88
		51	3180	58161,507	59306,1016403829	1310096,89079316		r_gain	33	21	53	0035
		40	3072	39243,458	38471,8323355076	595406,166103393		g_gain	33	21	44	002C
		40	3456	44222,199	43280,811377446	886210,65589786		b_gain	25	19	39	0027
		40	3840	46364,174	48089,7904193845	2977752,02684922
		40	4224	52940,878	52898,7694613229	1773,12902952091		calculated	n =	1,05
		40	4608	57447,59	57707,7485032613	67682,4468191827			quality	normal
		40	4992	59711,848	62516,7275451998	7867349,26308016		red	33590,2094485155	33763,6182897308
normal	red	51	3328	4596,393	5520,35088330244	853698,170116723		green	33663,0134815698	33388,0785030917
		51	3584	9835,315	10986,2240281719	1324591,59112752		blue	34684,5677167479	34339,6549592444
		51	3705	12992,685	13569,7031318016	332949,924427752		mean	33979,2635489444	33830,4505840223
		55	3705	28209,103	28104,9024930181	10857,7456552809
		59	3705	50703,065	46731,0410802287	15776974,0192351
		53	3328	6505,608	11650,382435255	26468703,9896537
		55	3328	13478,631	18576,5299586408	25988573,7925113
		57	3328	21939,438	26416,3700635475	20042920,7016193
		59	3328	38032,787	35307,3772510125	7427858,29987618
		61	3328	52024,981	45410,6155526886	43749830,2705873
	green	45	3072	6858,232	7991,74330837351	1284847,88621062
		45	3328	12754,109	14119,055250738	1863078,26740366
		45	3584	18493,521	20246,3671931024	3072469,77667368
		47	3071	15143,117	13550,2459186915	2537238,28166884
		51	3071	28194,988	26897,5996626275	1683216,49795022
		55	3071	46322,565	43881,7202200624	5957723,23974885
		46	3072	12783,827	10702,4430544533	4332159,12877938
		48	3072	18383,692	16623,208862407	3099300,87774918
		51	3072	28665,73	26927,6985228237	3020753,41565557
		54	3072	36532,488	39272,444215056	7507360,06042413
		56	3072	46791,579	48859,0927269998	4274613,0113327
	blue	36	3328	10155,086	8324,20625532535	3352120,63945991
		36	3584	15646,278	14005,7605826581	2691297,39660224
		39	3180	12757,707	11648,3636407261	1230642,68876518
		43	3180	22330,57	22406,8331726442	5816,07150175428
		47	3180	34572,38	35948,6756142637	1894189,61784155
		51	3180	50760,612	53076,2032807657	5361962,97955817
		37	3840	25697,027	22198,6612699867	12238562,7809318
		41	3840	36167,194	33793,4163112781	5634820,51547392
		45	3840	49407,949	48361,3064055591	1095460,72049799
		49	3072	38706,868	40284,0349525111	2487455,59609308
		51	3072	47130,587	49047,8643014189	3675952,25053631